# 8F

# CONCRETE HANDHOLE OR CONCRETE DOUBLE HANDHOLE

(Effective December 1, 1999;  Revised January 1, 2007)

Concrete Handhole and Concrete Double Handhole shall meet the requirements of Sections 814 and 1088 of the Standard Specifications with the following modifications:

The lift ring for the cover shall consist of a solid closed ring of stainless steel at least 0.375 inch (10 mm) in diameter.  The lift ring shall be attached to the cover by a loop of stainless steel at least 0.375 inch (10 mm) in diameter.  The lift ring and loop shall be recessed in the cover.