All Regional Engineers

Omer M. Osman, P.E.

Special Provision for Coilable Nonmetallic Conduit

April 18, 2014

This special provision was developed by the Bureau of Materials of Physical Research and the Bureau of Design and Environment to remove duplicate information and revise testing requirements to the current standards.

This special provision should be inserted in contracts requiring coilable nonmetaillic conduit in electrical installations.

The districts should include the BDE Check Sheet marked with the applicable special provisions for the August 1, 2014 and subsequent lettings.  The Project Development and Implementation Section will include a copy in the contract.

This special provision will be available on the transfer directory April 18, 2014.

80341m

# coilable nonmetallic conduit (bde)

Effective:  August 1, 2014

Revise Article 1088.01(c) of the Standard Specifications to read:

“	(c)	Coilable Nonmetallic Conduit.  The conduit shall be a high density polyethylene duct which is intended for underground use can be manufactured and coiled or reeled in continuous transportable lengths and uncoiled for further processing and/or installation without adversely affecting its properties or performance.  The conduit and its manufacture shall be according to UL Standard 651A.

Performance Tests.  Testing procedures and test results shall meet the requirements of UL Standard 651A.  Certified copies of the test report shall be submitted to the Engineer prior to the installation of the conduit.”

80341