## Electric Service Installation

Effective:  January 1, 2012

Description.  This item shall consist of all material and labor required to extend, connect or modify the electric services, as indicated or specified, which is over and above the work performed by the utility.  Unless otherwise indicated, the cost for the utility work, if any, will be reimbursed to the Contractor separately under ELECTRIC UTILITY SERVICE CONNECTION.  This item may apply to the work at more than one service location and each will be paid separately.

Materials.  Materials shall be in accordance with the Standard Specifications.

CONSTRUCTION REQUIREMENTS

General.  The Contractor shall ascertain the work being provided by the electric utility and shall provide all additional material and work not included by other contract pay items required to complete the electric service work in complete compliance with the requirements of the utility.

No additional compensation will be allowed for work required for the electric service, even though not explicitly shown on the Drawings or specified herein

Method Of Measurement.  Electric Service Installation shall be counted, each.

Basis Of Payment.  This work will be paid for at the contract unit price each for ELECTRIC SERVICE INSTALLATION which shall be payment in full for the work specified herein.