# ROCK EXCAVATION FOR STRUCTURES, SPECIAL (D1)

Effective:  September 30, 1985

Revised:  January 1, 2007

This work consists of excavating rock encountered during the construction of storm sewer jacked in place.  This work shall be done according to the applicable portions of Sections 502 and 552 of the Standard Specifications.

Method of Measurement.  The area to be used for calculating the quantity of rock excavation shall be that portion (sector) of the circle formed by the outside diameter of the metal liner and the surface of the rock.

Basis of Payment.  This work will be paid for at the contract unit price per cubic yard (cubic meter) for ROCK EXCAVATION FOR STRUCTURES, SPECIAL measured as specified.

50200410		ROCK EXC STRUCT SPL				 CU YD

M5020410		ROCK EXC STRUCT SPL				 CU M