# CLEANING EXISTING DRAINAGE STRUCTURES (D1)

Effective:  September 30, 1985

Revised:   May 1, 2022

All existing storm sewers, pipe culverts, manholes, catch basins and inlets shall be considered as drainage structures insofar as the interpretation of this Special Provision is concerned. When specified for payment, the location of drainage structures to be cleaned will be determined in the field by the Engineer.

All existing drainage structures which are to be adjusted or reconstructed shall be cleaned according to Article 602.15 of the Standard Specifications.  This work will be paid for according to accordance with Article 602.16 of the Standard Specifications.

All other existing drainage structures which are specified to be cleaned by the Engineer will be cleaned according to Article 602.15 of the Standard Specifications.

Basis of Payment.  This work will be paid for at the contract unit price each for DRAINAGE STRUCTURES TO BE CLEANED, and at the contract unit price per foot (meter) for STORM SEWERS TO BE CLEANED, of the diameter specified.

DESIGNER'S NOTE:	Pay items for cleaning individual sizes of storm sewer should be used.

Z0018500	DRAINAGE STRUCTURES TO BE CLEANED	EACH

h:\sp\des\6028962r.doc