## Luminaire Shield

Effective: May 1, 2024

Description: This item shall consist of providing a luminaire shield as specified herein and as indicated in the plans.

Materials.  Materials shall be according to the following:

The shield shall be made of aluminum and compatible with luminaire it is to be installed on.

The shield shall limit the light directed to the sides and above/below the luminaire, and the house side shield is intended to limit the light directed directly behind the luminaire.

The shield shall be installable in 4 different positions: 0°, 90°, 180°, and 270°.

CONSTRUCTION REQUIREMENTS

General.   The shield shall be installed as instructed by the manufacturer and indicated in the plan details.

Basis of Payment:  This work shall be paid for at the contract price each for LUMINAIRE SHIELD, which shall be payment for the work as described herein and as indicated in the plans.