## Temporary Wood Pole, Install Only

Effective: January 1, 2012

Description.   This item shall consist of retrieving from storage, transporting, and installing a temporary wood pole, and mast as applicable, as specified herein and as indicated on the plans.

Materials.  Materials shall be according to the following Articles of Section 1000 - Materials

Item									Article/Section

(a)  Light Pole Identification...................................................................................1069.06

CONSTRUCTION REQUIREMENTS

Inspection And Acceptance.  The Contractor shall examine the wood pole, and mast as applicable, in the presence of the Engineer and after accepting the pole(s) shall be held responsible for preservation of the condition of each pole, as it was at the time of acceptance, until the Final Acceptance Inspection.

Transportation.  The Contractor shall transport, handle the wood pole in complete conformance with industry standard recommendations.  The Contractor shall make arrangements to transfer the light poles from the State’s storage facility located within District 1 on weekdays between the hours of 8:00 a.m. and 4:00 p.m., excluding State holidays applicable to the Department.

Installation.  Installation shall be as described in Article 830.03(c).  Unless otherwise indicated, the Contractor shall provide all hardware to install the pole and mast arm as specified herein and indicated on the plans.

Unless otherwise indicated, the wood pole and mast arm, as applicable, shall remain the property of the owner and shall be removed as specified elsewhere herein.

Method Of Measurement.  Wood poles shall be counted as, each installed.

Basis Of Payment.  This item shall be paid at the contract unit price each for TEMPORARY WOOD POLE, of the mounting height, mast arm quantity and length indicated, (INSTALL ONLY).