# REMOVE AND RELOCATE EXISTING gROUND MOUNTED Eletrical SERVICE

Effective: March 1, 2025

805.03TS

Description.

This work shall consist of relocating an existing ground mounted electrical service cabinet and all necessary components onto a new foundation as shown per the plans. When the ground mount electrical service cabinet cannot be immediately relocated, the contractor shall store the ground mount electrical service cabinet and electric meter (if applicable) until such a time that they can be reinstalled for the proposed permanent traffic signal. Any damage sustained by the ground mounted electrical service cabinet or its components during the removal, storage, transport, and/or reinstallation operations must be repaired or replaced in kind by the Contractor to the satisfaction of the Engineer at the Contractor’s expense. All work described herein must meet the requirements of the Service Installation (Traffic Signals) special provision.  All work and coordination with the electric utility company shall be included in this pay item.

Basis of Payment.

The work of removing and relocating the ground mounted electrical service with new or existing metered service shall be paid for at the contract unit price each for REMOVE AND RELOCATE EXISTING GROUND MOUNTED ELECTRICAL SERVICE. The CONCRETE FOUNDATION, TYPE A, which includes the ground rod, shall be paid for separately. Any charges by the utility companies shall be approved by the engineer and paid for as an addition to the contract according to Article 109.05 of the Standard Specifications.