RELOCATE NETWORK SWITCH

Effective: March 1, 2025

Revised: April 1, 2026

892.09TS

Description

This work shall consist of the removal, storage, and relocation of an existing Access, Distribution, or Core network switch and associated power supply, from one traffic signal, ITS, or communications cabinet to another cabinet.

General

The switch shall be removed and relocated as shown on the plans and/or as directed by the Engineer.  Any damage sustained by the switch during the removal, storage, transport, and/or reinstallation operations must be repaired or replaced in kind by the Contractor to the satisfaction of the Engineer at the Contractor’s expense. Any replacement switch must meet the material, construction, and configuration requirements of the current Access, Distribution, or Core network switch special provisions.

Basis of Payment

This item will be paid for at the Contract unit price each for RELOCATE SWITCH. The unit price shall include all equipment, materials and labor required to disconnect the existing switch; package and store it; transport it; install the switch in the new location; and in operation to the satisfaction of the Engineer.  The unit price shall also include all equipment, materials and labor required to disconnect the existing switch power supply and all fiber optic jumper cables; package and store them; transport them; install the power supply and all fiber optic jumper cables, hardware, software, and other peripheral equipment necessary for proper operation in the new location; and in operation to the satisfaction of the Engineer.