Regional Engineers

Jack A. Elston

Special Provision for Aggregate Subgrade Improvement

January 14, 2022

This special provision was developed by the Central Bureau of Materials to allow the use of coarse aggregate in fills ranging from 12 in. to over 24 in. in thickness.  It has been revised to reduce the CA 2, CA 6, and CA 10 maximum lift thickness from 12 inches to 9 inches.  In addition, it has been revised to fit with the 2022 Standard Specifications.

It should be included in contracts utilizing aggregate subgrade improvement.

The designer should check with the District Geotechnical Engineer to determine the appropriate thickness of the aggregate subgrade material.

The districts should include the BDE Check Sheet marked with the applicable special provisions for the April 29, 2022 and subsequent lettings.  The Project Coordination and Implementation Section will include a copy in the contract.

80274m

# aggregate subgrade improvement (bde)

Effective:  April 1, 2012

Revised:  April 1, 2022

Add the following Section to the Standard Specifications:

“SECTION 303.  AGGREGATE SUBGRADE IMPROVEMENT

303.01	Description.  This work shall consist of constructing an aggregate subgrade improvement (ASI).

303.02	Materials.  Materials shall be according to the following.

Item	Article/Section

(a)	Coarse Aggregate 	1004.07

(b)	Reclaimed Asphalt Pavement (RAP) 	1031.09

303.03	Equipment.  The vibratory roller shall be according to Article 1101.01, or as approved by the Engineer.  Vibratory machines, such as tampers, shall be used in areas where rollers do not fit.

303.04	Soil Preparation.  The minimum immediate bearing value (IBV) of the soil below the improved subgrade shall be according to the Department’s “Subgrade Stability Manual” for the aggregate thickness specified.

303.05	Placing and Compacting.  The maximum nominal lift thickness of aggregate gradations CA 2, CA 6, and CA 10 when compacted shall be 9 in. (225 mm).  The maximum nominal lift thickness of aggregate gradations CS 1, CS 2, and RR 1 when compacted shall be 24 in. (600 mm).

The top surface of the aggregate subgrade improvement shall consist of a layer of capping aggregate gradations CA 6 or CA 10 that is 3 in. (75 mm) thick after compaction.

Capping aggregate will not be required when aggregate subgrade improvement is used as a cubic yard pay item for undercut applications.

Each lift of aggregate shall be compacted to the satisfaction of the Engineer.  If the moisture content of the material is such that compaction cannot be obtained, sufficient water shall be added so that satisfactory compaction can be obtained.

Capping aggregate will not be required when the aggregate subgrade improvement is used as a cubic yard pay item for undercut applications.

303.06	Finishing and Maintenance.  The aggregate subgrade improvement shall be finished to the lines, grades, and cross sections shown on the plans, or as directed by the Engineer.  The aggregate subgrade improvement shall be maintained in a smooth and compacted condition.

303.07	Method of Measurement.  This work will be measured for payment according to Article 311.08.

303.08	Basis of Payment.  This work will be paid for at the contract unit price per cubic yard (cubic meter) or ton (metric ton) for AGGREGATE SUBGRADE IMPROVEMENT or at the contract unit price per square yard (square meter) for AGGREGATE SUBGRADE IMPROVEMENT, of the thickness specified.”

Add the following to Section 1004 of the Standard Specifications:

“	1004.07	Coarse Aggregate for Aggregate Subgrade Improvement (ASI).  The aggregate shall be according to Article 1004.01 and the following.

(a)	Description.  The coarse aggregate shall be crushed gravel, crushed stone, or crushed concrete.  In applications where greater than 24 in. (600 mm) of ASI material is required, gravel may be used below the top 12 in (300 mm) of ASI.

(b)	Quality.  The coarse aggregate shall consist of sound durable particles reasonably free of deleterious materials.

(c)	Gradation.

(1)	The coarse aggregate gradation for total ASI thickness less than or equal to 12 in. (300 mm) shall be CA 2, CA 6, CA 10, or CS 1.

The coarse aggregate gradation for total ASI thickness greater than 12 in. (300 mm) shall be CS 1 or CS 2 as shown below or RR 1 according to Article 1005.01(c).

|  | COARSE AGGREGATE SUBGRADE GRADATIONS |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Grad No. | Sieve Size and Percent Passing |  |  |  |  |
|  | 8” | 6” | 4” | 2” | #4 |
| CS 1 | 100 | 97 ± 3 | 90 ± 10 | 45 ± 25 | 20 ± 20 |
| CS 2 |  | 100 | 80 ± 10 | 25 ± 15 |  |

|  | COARSE AGGREGATE SUBGRADE GRADATIONS (Metric) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Grad No. | Sieve Size and Percent Passing |  |  |  |  |
|  | 200 mm | 150 mm | 100 mm | 50 mm | 4.75 mm |
| CS 1 | 100 | 97 ± 3 | 90 ± 10 | 45 ± 25 | 20 ± 20 |
| CS 2 |  | 100 | 80 ± 10 | 25 ± 15 |  |

(2)	Capping aggregate shall be gradation CA 6 or CA 10.”

Add the following to Article 1031.09 of the Standard Specifications:

“	(b)	RAP in Aggregate Subgrade Improvement (ASI).  RAP in ASI shall be according to Articles 1031.01(a), 1031.02(a), 1031.06(a)(1), and 1031.06(a)(2), and the following.

- The testing requirements of Article 1031.03 shall not apply.

- Crushed RAP used for the lower lift may be mechanically blended with aggregate gradations CS 1, CS 2, and RR 1 but it shall be no greater than 40 percent of the total product volume.  RAP agglomerations shall be no greater than 4 in. (100 mm).

- For capping aggregate, well graded RAP having 100 percent passing the 1 1/2 in. (38 mm) sieve may be used when aggregate gradations CS 1, CS 2, CA 2, or RR 1 are used in the lower lift.  FRAP will not be permitted as capping material.

Blending shall be through calibrated interlocked feeders or a calibrated blending plant such that the prescribed blending percentage is maintained throughout the blending process.  The calibration shall have an accuracy of ± 2.0 percent of the actual quantity of material delivered.”

80274